10/30/2024

GuideOne Insurance Company

FINAL REPORT

DATE OF INSPECTION:

On 10/21/2024, Steve Kujawski inspected the property located at 3237 Deans Bridge Road, Augusta, GA 30903-2211 at the scheduled time as coordinated with the insured, NEW ZION HILL MISSIONARY BAPTIST CHURCH INCORPORATED.

CAUSE & ORIGIN:

This Hurricane loss is reported to have occurred on 9/27/2024.
The origin of this Hurricane loss was observed at the front of the risk.

INSURED CLAIMED DAMAGES:

The insured filed this claim after observing damage to ceiling areas in multiple rooms, as well as soffit, fascia, and roof surfaces of the building, and is claiming damage to these components.

OUR INSPECTION FINDINGS:

CHURCH BUILDING ROOFING:

Our inspection identified wind damage to the roof covering of the church building.

Front Slope #1- Wind damage was observed affecting more than 15 shingles on this slope.

Front Slope #2- Wind damage was observed affecting over 100 shingles on this slope.

Rear Slope- This slope was inspected and found to be free from storm-related damage.

Left Slope- Wind damage was observed affecting five shingles on this slope.

The ridge cap across the roof surface was also observed to be damaged due to wind.

We evaluated this roof to determine whether an acceptable transition could be made between replacement shingles and undamaged slopes. Consideration was given to shingle orientation at valleys, ridge and hip locations, and overall line-of-sight appearance. Based on the estimated age, observed condition, and lift test results, the extent of damage supports a full replacement of the entire roof surface. Line items have been added accordingly. Please refer to the attached sketch and photo report for further documentation.

This Gable roof has 11 slopes, as such a 10% waste factor has been applied to the replacement shingles.

EXTERIOR OBSERVATIONS:

Front elevation- Hurricane has damaged the stucco door wrap, soffit, and fascia on this elevation.

Right elevation- Hurricane has damaged the siding, soffit, and fascia on this elevation.

Rear elevation- Hurricane has damaged the soffit and fascia on this elevation.

Left elevation- Hurricane has damaged the siding, soffit and fascia on this elevation.

INTERIOR OBSERVATIONS:

Water intrusion through the roof resulted in damage to the suspended ceiling surfaces within the sanctuary, women’s restroom, and fellowship hall. Additionally, water damage was observed to the drywall ceiling in the kitchen. Line items have been included to address these repairs. Please refer to the photo report for additional detail.

No Mitigation Needed: Only a limited amount of water entered the risk, and mitigation services do not appear to be necessary.

OTHER STRUCTURES / BUILDINGS:

SJHED ROOFING:

Our inspection revealed wind damage to the roof covering of the building.

Front Slope- Wind has damaged OVER 50 shingles on this slope.

Rear Slope- Wind has damaged OVER 40 shingles on this slope.

This damage warrants a full replacement of the entire roof surface of the building. Line items have been added accordingly. Please see attached sketch and photo report for additional detail.

This Gable roof has 2 slopes, as such a 7% waste factor has been applied to the replacement shingles.

EXTERIOR OBSERVATIONS:

The siding, soffit, fascia, windows, doors, gutters, and downspouts on all shed elevations were inspected and found to be free from storm-related damage. Please refer to photos for supporting documentation.

INTERIOR OBSERVATIONS:

There is no interior damage involved with this building.

BUSINESS PERSONAL PROPERTY:

No damage to business personal property was reported or observed during the inspection.

DEPRECIATION:

Depreciation was applied to material items only for replacement components based on the age and condition of the damaged items using the Xactimate age function.

OVERHEAD & PROFIT:

Overhead and Profit has not been added to this estimate as the insured has not yet secured a contractor for this project. Please note, O&P may be requested by the insured’s contractor at a later date as three or more trades are needed, cooperation with the insured’s schedule is needed to complete interior repairs, and the use of a general contractor is anticipated.

#### SALES TAX: GA

No sales tax has been applied as the insured is a church with tax exempt status.

SUBROGATION:

We observed no evidence of conditions that would have led to or exacerbated the extent of the damage involved.

SALVAGE:

There is no economically beneficial salvage for the damaged items in the estimate.

Prior Losses Addressed:

No prior loss information given.

Contractor Information:

No Public Adjuster or Attorney Involvement.

NEW ZION HILL MISSIONARY BAPTIST CHURCH INCORPORATED did not have a contractor present during the inspection.

RECOMMENDATIONS:

This assignment is for appraisal purposes only. If you agree with our assessment of the loss based on coverage, payment should be issued to the insured after application of the appropriate depreciation and deductible in accordance with the attached adjuster summary.

Time was taken to explain the claims process to the insured. The insured was advised that we act as a facilitator for the insurance carrier and that all coverage determinations remain the responsibility of the carrier.

We appreciate the opportunity to assist with this assignment. Please advise if any clarification or additional information is required.

Sincerely,

Steve Kujawski

stevekujo@gmail.com

(419) 699-4414

Eberl Claims Service

Commercialclaims@eberls.com